# EE284A Lab 1 Deliverables

Edward Bayliss

- TMP36 Datasheet

  - Package pinout

  - Operating voltage range

  - Output-voltage-vs-temperature graph

  - Scaling table

- TMP36 wiring

- Temperature equation

Output from Temp Sensor
V = (DN / 4095) * 2.1as 12 bit ADC and Vref = 2.1V
T(°C) = (V - 0.5) / 0.010

Therefore: T(°C) = ( (DN / 4095) * 2.1 - 0.5 ) / 0.010

- Serial output screenshot

- TMP36 complete script

- Max, min, and delta temp over 1 minute

- Another temperature sensor type

Thermocouple (Type K)

When two dissimilar metals are joined at a junction, a temperature-dependent voltage of ~41µV/°C is generated via the Seebeck effect. This voltage is too small for an ADC to read directly, so an amplifier IC boosts it and performs cold-junction compensation before sending the result to the MCU over SPI. The main advantage over the TMP36 is range where thermocouple has a range of -200 to 1350°C vs the TMP36’s -40 to 125°C. Thermocouples are the standard choice for high-temperature industrial applications like furnaces and engines.

- I2C wiring